## Sheet1
Combined Tags | Existence Status | Size Match | PID | Size_ProcessPower | 3D | Size_PipingDatabase | ProcessPower_Comment | PipingDatabase_Part_Size | PipingDatabase_Attached on | PipingDatabase_Drawing_Title
101.HV.NON.002 | Exists in both | Not Identical | PID | 80 | 3D | 250 | Gate valve DN80 manual. Sejjern m. metal seat. PTFE gasket. C4 Coated. A2 bolts | Knife gate valve DN250 PN10 handwheel | 101-LM-01 | 08 Piping
102.HV.NON.002 | Exists in both | Not Identical | PID | 80 | 3D | 250 | Gate valve DN80 manual. Sejjern m. metal seat. PTFE gasket. C4 Coated. A2 bolts | Knife gate valve DN250 PN10 handwheel | 102-LM-01 | 08 Piping
110.HV.NON.501 | Exists in both | Not Identical | PID | 32 | 3D | 40 | DVC1101. 1 1/4" Socket-socket with handle Stainless | Ball valve DN40 PN68 handle | 110-LB-01 | 03 Piping
110.HV.NON.502 | Exists in both | Not Identical | PID | 32 | 3D | 40 | DVC1101. 1 1/4" Socket-socket with handle Stainless | Ball valve DN40 PN68 handle | 110-LB-02 | 03 Piping
201.HV.NON.001 | Exists in both | Not Identical | PID | 80 | 3D | 200 | Gate valve DN80 manual. Sejjern m. metal seat. PTFE gasket. C4 Coated. A2 bolts | Knife gate valve DN200 PN10 handwheel |  | 08 Piping
201.HV.NON.002 | Exists in both | Not Identical | PID | 80 | 3D | 50 | Gate valve DN80 manual. Sejjern m. metal seat. PTFE gasket. C4 Coated. A2 bolts | Ball valve DN50 PN68 handle | 201-LM-02 | 08 Piping
201.HV.NON.501 | Exists in both | Not Identical | PID | 32 | 3D | 20 | DVC1101. 1 1/4" Socket-socket with handle Stainless | Ball Valve, PN68, Manual, Type 1101, DN20 | 201-LM-09 | West Piping above ground
202.HV.NON.001 | Exists in both | Not Identical | PID | 80 | 3D | 200 |  | Knife gate valve DN200 PN10 handwheel |  | 08 Piping
202.HV.NON.002 | Exists in both | Not Identical | PID | 80 | 3D | 50 | Gate valve DN80 manual. Sejjern m. metal seat. PTFE gasket. C4 Coated. A2 bolts | Ball valve DN50 PN68 handle | 202-LM-02 | 08 Piping
202.HV.NON.003 | Exists in both | Not Identical | PID | 80 | 3D | 100 |  | Knife Gate Valve, Manual, Type 3050, DN100 | 202-LM-09 | West Piping above ground
211.HV.NON.001 | Exists in both | Not Identical | PID | 80 | 3D | 100 | DN80-PN16 2-piece ball valve type. 7289 | Ball Valve, PN16, Type 1432, DN100 | 211-LB-09_Out | West Piping above ground
211.HV.NON.003 | Exists in both | Not Identical | PID | 100 | 3D | 150 | DN100-PN16 2-piece ball valve type. 7289 | Ball valve Type 1432 DN150 PN16 | 211-LB-01 | 03 Piping
211.HV.NON.004 | Exists in both | Not Identical | PID | 80 | 3D | 150 | DN80-PN16 2-piece ball valve type. 7289 | Ball valve Type 1432 DN150 PN16 | 211-LB-03 | 03 Piping
221.HV.NON.505 | Exists in both | Not Identical | PID | 100 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 221-PB-02 | West Piping above ground
312.HV.NON.501 | Exists in both | Not Identical | PID | 50 | 3D | 25 | DVC1101. 2" Socket-socket with handle Stainless | Ball Valve, PN68, Manual, Type 1101, DN25 | 312-RCB-02 | 01 piping
312.HV.NON.502 | Exists in both | Not Identical | PID | 50 | 3D | 25 | DVC1101. 2" Socket-socket with handle Stainless | Ball Valve, PN68, Manual, Type 1101, DN25 | 312-RCB-02 | 01 piping
411.HV.NON.501 | Exists in both | Not Identical | PID | 63 | 3D | 50 |  | Butterfly valve, Manual, Handle, Type E6730, DN50 | 411-HR-06 | 02 Piping
411.HV.NON.503 | Exists in both | Not Identical | PID | 20 | 3D | 15 |  | Ball Valve, PN68, Manual, Type 1101, DN15 | 411-HS-06 | 02 Piping
412.HV.NON.001 | Exists in both | Not Identical | PID | 25 | 3D | 32 |  | Ball valve DN32 PN68 handle | 412-HS-01 | 02 Piping
412.HV.NON.002 | Exists in both | Not Identical | PID | 25 | 3D | 32 |  | Ball valve DN32 PN68 handle | 412-HR-01 | 02 Piping
421.HV.NON.003 | Exists in both | Not Identical | PID | 25 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 421-HS-01 | 06 Piping
421.HV.NON.004 | Exists in both | Not Identical | PID | 25 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 421-HR-01 | 06 Piping
423.HV.NON.501 | Exists in both | Not Identical | PID |  | 3D | 20 |  | CP METRIC Valve | 423-HS-01 | 06 Piping
423.HV.NON.502 | Exists in both | Not Identical | PID |  | 3D | 20 |  | CP METRIC Valve | 423-HR-01 | 06 Piping
423.HV.NON.504 | Exists in both | Not Identical | PID | 15 | 3D | 20 | Mercury TEA 1/2" ball valve. Socket nipple with handle | Ball Valve, PN68, Manual, Type 1101, DN20 | 423-HR-01 | West Piping above ground
423.HV.NON.506 | Exists in both | Not Identical | PID | 15 | 3D | 20 | Mercury TEA 1/2" ball valve. Socket nipple with handle | Ball Valve, PN68, Manual, Type 1101, DN20 | 423-HS-04 | West Piping above ground
424.HV.NON.501 | Exists in both | Not Identical | PID |  | 3D | 20 |  | CP METRIC Valve | 424-HS-01 | 06 Piping
424.HV.NON.502 | Exists in both | Not Identical | PID |  | 3D | 20 |  | CP METRIC Valve | 424-HR-01 | 06 Piping
424.HV.NON.504 | Exists in both | Not Identical | PID | 15 | 3D | 20 | Mercury TEA 1/2" ball valve. Socket nipple with handle | Ball Valve, PN68, Manual, Type 1101, DN20 | 424-HR-01 | West Piping above ground
424.HV.NON.506 | Exists in both | Not Identical | PID | 15 | 3D | 20 | Mercury TEA 1/2" ball valve. Socket nipple with handle | Ball Valve, PN68, Manual, Type 1101, DN20 | 424-HS-04 | West Piping above ground
426.HV.NON.503 | Exists in both | Not Identical | PID | 15 | 3D | 20 | Mercury TEA 1/2" ball valve. Socket nipple with handle | Ball Valve, PN68, Manual, Type 1101, DN20 | 426-HS-02 | West Piping above ground
427.HV.NON.501 | Exists in both | Not Identical | PID | 15 | 3D | 20 |  | CP METRIC Valve | 427-HS-01 | 06 Piping
427.HV.NON.502 | Exists in both | Not Identical | PID | 15 | 3D | 20 |  | CP METRIC Valve | 427-HR-01 | 06 Piping
432.HV.NON.701 | Exists in both | Not Identical | PID | 25 | 3D | 15 | DVC1101. 1" Socket-socket with handle Stainless | Ball Valve, PN40, Manual, Type 1101, DN15 | 432-HS-02 | 01 piping
432.HV.NON.702 | Exists in both | Not Identical | PID | 100 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 432-HS-02 | 01 piping
433.HV.NON.009 | Exists in both | Not Identical | PID |  | 3D | 50 |  | Butterfly valve, Manual, Handle, Type E6730, DN50 | 433-HS-02 | 01 piping
446.HV.NON.701 | Exists in both | Not Identical | PID | 25 | 3D | 15 | DVC1101. 1" Socket-socket with handle Stainless | Ball Valve, PN40, Manual, Type 1101, DN15 | 446-HS-03 | 03 Piping
511.HV.NON.002 | Exists in both | Not Identical | PID | 100 | 3D | 250 |  | Knife gate valve DN250 PN10 handwheel | 511-PB-01 | 06 Piping
511.HV.NON.505 | Exists in both | Not Identical | PID | 100 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 511-PB-04 | West Piping above ground
511.HV.NON.506 | Exists in both | Not Identical | PID | 100 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 511-PB-05 | West Piping above ground
512.HV.NON.002 | Exists in both | Not Identical | PID | 100 | 3D | 250 |  | Knife gate valve DN250 PN10 handwheel | 512-PB-01 | 06 Piping
512.HV.NON.505 | Exists in both | Not Identical | PID | 100 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 512-PB-04 | West Piping above ground
611.HV.NON.501 | Exists in both | Not Identical | PID | 32 | 3D | 40 |  | Ball Valve, PN68, Manual, Type 1101, DN40 | 611-PB-01 | 06 Piping
611.HV.NON.502 | Exists in both | Not Identical | PID | 32 | 3D | 40 |  | Ball Valve, PN68, Manual, Type 1101, DN40 | 611-PB-10 | 06 Piping
793.HV.NON.001 | Exists in both | Not Identical | PID | 200 | 3D | 250 | Gas-approved butterfly valve type 974T DN200 Gear | Butterfly valve, Manual, Gear, Type 2246, DN250 | 793-RB-01 | West Piping above ground
794.HV.NON.001 | Exists in both | Not Identical | PID | 200 | 3D | 250 | Gas-approved butterfly valve type 974T DN200 Gear | Butterfly valve, Manual, Gear, Type 2246, DN250 | 794-RB-01 | West Piping above ground
796.HV.NON.001 | Exists in both | Not Identical | PID | 200 | 3D | 250 | Gas-approved butterfly valve type 974T DN200 Gear | Butterfly valve, Manual, Gear, Type 2246, DN250 | 796-RB-01 | West Piping above ground
816.HV.NON.005 | Exists in both | Not Identical | PID | 15 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 816-PW-32 | 01 piping
816.HV.NON.008 | Exists in both | Not Identical | PID | 20 | 3D | 50 |  | Ball Valve, PN68, Manual, Type 1101, DN50 | 816-PW-08 | 01 piping
816.HV.NON.011 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 816-PW-12 | 01 piping
816.HV.NON.012 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 816-PW-13 | 01 piping
816.HV.NON.015 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 816-PW-07 | 01 piping
816.HV.NON.016 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 816-PW-11 | 01 piping
816.HV.NON.017 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 816-PW-16 | 01 piping
816.HV.NON.018 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 816-PW-17 | 01 piping
816.HV.NON.020 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 816-PW-10 | 01 piping
816.HV.NON.035 | Exists in both | Not Identical | PID | 50 | 3D | 32 |  | Ball Valve, PN68, Manual, Type 1101, DN32 | 816-PW-34 | 03 Piping
816.HV.NON.038 | Exists in both | Not Identical | PID | 50 | 3D | 32 |  | Ball Valve, PN68, Manual, Type 1101, DN32 | 816-PW-34 | 03 Piping
817.HV.NON.008 | Exists in both | Not Identical | PID | 40 | 3D | 25 |  | Ball Valve, PN68, Manual, Type 1101, DN25 | 817-DW-04 | 01 piping
818.HV.NON.003 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 818-PW-06 | 06 Piping
818.HV.NON.004 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 818-PW-05 | 06 Piping
818.HV.NON.007 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 818-PW-12 | 08 Piping
818.HV.NON.008 | Exists in both | Not Identical | PID | 20 | 3D | 0.75 |  | Cim 34 - Water Outlet Valve, 3/4" | 818-PW-11 | 08 Piping
818.HV.NON.009 | Exists in both | Not Identical | PID | 28 | 3D | 20 |  | Ball Valve, PN68, Manual, Type 1101, DN20 | 818-PW-03 | 06 Piping
819.HV.NON.029 | Exists in both | Not Identical | PID | 28 | 3D | 25 |  | Ball Valve, PN68, Manual, Type 1101, DN25 | 819-DW-35 | 03 Piping
819.HV.NON.030 | Exists in both | Not Identical | PID | 28 | 3D | 25 |  | Ball Valve, PN68, Manual, Type 1101, DN25 | 819-DW-36 | 03 Piping
819.HV.NON.031 | Exists in both | Not Identical | PID | 28 | 3D | 25 |  | Ball Valve, PN68, Manual, Type 1101, DN25 | 819-DW-33 | 03 Piping
819.HV.NON.032 | Exists in both | Not Identical | PID | 28 | 3D | 25 |  | Ball Valve, PN68, Manual, Type 1101, DN25 | 819-DW-34 | 03 Piping
819.HV.NON.101 | Exists in both | Not Identical | PID | 28 | 3D | 25 |  | Thermostatic Mixing Valve - DN25 | 819-DW-35 | 03 Piping
819.HV.NON.102 | Exists in both | Not Identical | PID | 28 | 3D | 25 |  | Thermostatic Mixing Valve - DN25 | 819-DW-33 | 03 Piping
855.HV.NON.001 | Exists in both | Not Identical | PID | 80 | 3D | 50 | 2" Slide valve | Ball valve DN50 PN68 handle |  | 01 Piping sewer